This policy is intended to maintain a consistent exterior appearance for the KBC building while allowing reasonable flexibility for unit renovations. It applies to the maintenance and replacement of all doors, windows, sliding glass doors, and associated frames, screens, and trim visible from common areas or exterior viewpoints.

Windows and Sliding Glass Doors

- Configuration: Replacement windows and sliding glass doors must match the existing configuration. For street-side windows, this remains the existing single-slider style.

- Style Options: For sliding glass doors, modern options may be considered. Any change to a different style must be approved by the Board as part of a formal alteration request.

Frame Color

- Approved Colors: Replacement windows, sliding glass doors, and screen frames must be dark brown or black.

- Prohibitions: Metallic finishes (including aluminum or silver tones) and all other frame colors are strictly prohibited.

Glass Reflectivity

- Transparency: Glass must not be fully reflective or fully opaque.

- Tints: Window films and tints are permitted, provided they are consistent with existing conditions found at KBC.

Unit Front Doors and Lanai Storage Doors

- Style: Replacement exterior front doors and lanai storage doors must match the existing flush style used throughout KBC. Doors with decorative features, windows, or glass are not permitted.

- Paint and Trim: All exterior doors, frames, and trim must be painted the KBC-approved dark brown to ensure building-wide consistency.

- Screens: No screen doors or screening systems may be installed on any unit front door.

Alternative Systems

Requests for alternatives to standard sliding glass doors or window systems will be reviewed on a case-by-case basis through the formal alteration request process. All approved alternatives must comply with the frame color and glass reflectivity requirements outlined in this policy.